## Gateway
Gateways
Part Number | Descriptor | Protocol | Devices
2901988 | EM-ETH-GATEWAY-IFS | Ethernet IP | 32
2904472 | EM-PNET-GATEWAY-IFS | PROFINET | 32
2901528 | EM-MODBUS-GATEWAY-IFS | Modbus/TCP | 32
2901504 | EM-CAN-GATEWAY-IFS | CANOpen | 32
2297620 | EM-PB-GATEWAY-IFS | Profibus | 32

## HMS
IFS comm
Part Number | Descriptor | Connection | Function1 | Function2 | Function3 | Function4 | Current
2905140 | ELR H5-IES-PT/500AC-9-IFS | PT | Forward | Reverse | Emergency Stop | Overload | 9
2905153 | ELR H5-IES-SC/500AC-9-IFS | SC | Forward | Reverse | Emergency Stop | Overload | 9
2905152 | ELR H5-IES-SC/500AC-3-IFS | SC | Forward | Reverse | Emergency Stop | Overload | 3
2905150 | ELR H3-I-PT/500AC-9-IFS | PT | Forward | Not | Not | Overload | 9
2905143 | ELR H3-IES-PT/500AC-9-IFS | PT | Forward | Not | Emergency Stop | Overload | 9
2905139 | ELR H5-IES-PT/500AC-3-IFS | PT | Forward | Reverse | Emergency Stop | Overload | 3
2905156 | ELR H3-IES-SC/500AC-9-IFS | SC | Forward | Not | Emergency Stop | Overload | 9
2905151 | ELR H5-IES-SC/500AC-06-IFS | SC | Forward | Reverse | Emergency Stop | Overload | 0.6
2905149 | ELR H3-I-PT/500AC-3-IFS | PT | Forward | Not | Not | Overload | 3
2905138 | ELR H5-IES-PT/500AC-06-IFS | PT | Forward | Reverse | Emergency Stop | Overload | 0.6
2905164 | ELR H3-I-SC/500AC-9-IFS | SC | Forward | Not | Not | Overload | 9
2905163 | ELR H3-I-SC/500AC-3-IFS | SC | Forward | Not | Not | Overload | 3
2905160 | ELR H5-I-SC/500AC-9-IFS | SC | Forward | Reverse | Not | Overload | 9
2905159 | ELR H5-I-SC/500AC-3-IFS | SC | Forward | Reverse | Not | Overload | 3
2905155 | ELR H3-IES-SC/500AC-3-IFS | SC | Forward | Not | Emergency Stop | Overload | 3
2905146 | ELR H5-I-PT/500AC-3-IFS | PT | Forward | Reverse | Not | Overload | 3
2905147 | ELR H5-I-PT/500AC-9-IFS | PT | Forward | Reverse | Not | Overload | 9
2905142 | ELR H3-IES-PT/500AC-3-IFS | PT | Forward | Not | Emergency Stop | Overload | 3